## Sheet1
Test Name | Failure Step
HPAD-12832_E4_GSHP_HMI_BasicCommissioning | Step 2 Click through Setup Screens :: VaillantLib.Test step :: Select Circuits to Bleed :: PHP2025Lib.Select Circuits to Bleed :: Verify bleeding sequence for one heating circuit :: Step 11 :: PHP2025Lib.CheckActuatorState GSHP :: AddVerdict
HPAD-8094_E4_Central heating interrupted by DHW | Dynamic change evaluation :: VaillantLib.Capture and evaluation :: DHW demand interrupts heating :: VaillantLib.Test step :: Capture and evaluation :: VaillantLib.Capture and evaluation :: Check Mode Change Ready for DHW :: VaillantLib.Check :: Check Mode Change Ready for DHW :: VaillantLib.Check
HPAD-8094_E4_Central heating interrupted by DHW | Dynamic change evaluation :: VaillantLib.Capture and evaluation :: DHW demand interrupts heating :: VaillantLib.Test step :: Capture and evaluation :: VaillantLib.Capture and evaluation :: Trigger DHW operation :: PHP2025Lib.Trigger DHW operation :: Check TWV is moved to expected position :: PHP2025Lib.Check TWV is moved to expected position :: Check MultiPurposeRelay is set to correct position :: VaillantLib.Check with absolute tolerance